## Ark1
Input-file for the Market Dialogue on Energy Island Bornholm and other future upcoming OWF version 19-08-2022
August-September 2022
This updated version of 19-08-2022 contains new questions and small modifications to some existing questions. Changes are marked with Yellow and italic font. Question 4.5 has furthermore been altered 23 of August Question 4.5 has furthermore been altered 23 of August
The market dialogue will be an opportunity for the market and potential tenderers to discuss specific elements of the tender framework with the DEA and Energinet – in this case mainly on topics related to Bornholm Energy Island – and to provide input on the framework conditions, including timetables
When participating in the market dialogue, please use this file to answer the questions from the Danish Energy Agency (DEA) and to make comments and recommendations.
Please send your feedback in this input file to Energyislands-eob-owf@ens.dk on 12 September 2022 at the latest.
Answers and comments provided as part of the dialogue are non-binding to the participants.
All input will be anonymized when the DEA processes the responses.
If participants in the technical dialogue request certain information provided as part of the dialogue to be kept confidential for competition reasons, the DEA will be able to meet such requests if they do not infringe with the obligations under the Freedom of Information Act (Access to Public Administration Files Act), the Danish Public Administration Act, the Environmental Information Act and the Public Procurement rules (in particular the principles of equal treatment and transparency). The information received will under no circumstances be used to provide a competitive advantage to a single market player.
Info on participant in the technical dialogue |  | Answers
Company name(s) or name of the future consortium |  | 1
Contact person’s name
Contact person’s email
Contact person’s telephone number
3. About Energy Island Bornholm wind farm
3.1 | Would you prefer the site in one procurement or divided into two separate procurements for Bornholm I and Bornholm II. Please elaborate why you prefer either one or two procurements?
3.2 | If minimum reguiret installed capacity is 3 GW and overplanting is allowed, would it be desirable if the POC could allocate a capacity greater than 3GW? E.g. 3,2 GW?
4. Timetable
Please answer 4.1 to 4.4 both from a 2,000 and a 3,000 MW capacity scenarie
4.1 | In the proposed timetable, the TSO Energinet will have the POC ready by 31 March 2029, when power can first be delivered to the grid. Is it realistic that the concessionaire will be able to use the POC at this point in time?
4.2 | Do the six years from when the concession is awarded to the deadline for full commission of the wind farm provide a realistic timeframe for the concessionaire to establish the offshore wind farm and export facilities?
4.3 | Typically, the market actor is given 2 years from point of connection until full capacity should be realized. What is the minimum amount of time that is required to set up offshore wind and how would a shortening of this period from the traditional two years affect the attractiveness of the procurement specifications? In the case of Energy Island Bornholm , the amount of time will be two seasons, and therefore not two full calendar years. Please also answer for a scenario with 1,000 MW capacity for other OWF procurements in general. In this case the amount of time will be one and a half seasons, eg. summer 2029 until end of 2030.
4.4 | In your opinion, what is the biggest risk in terms of time in the project?
4.5 | Regarding the grid connection window For the new Hesselø location; Please indicate if the following dates and the deadline will work: Regarding the grid connection window -The Concession will be granted by the end of 2024 -The PoC is expected to open for delivery of up to 500 MW in April 2028 and for 1000 MW in April 2029 -The deadline for full commissioning of the OWF is December 31, 2029 -The installed capacity will still be 800-1,200 MW, while a max of 1,000 MW can be delivered to the Point of Connection (PoC).
5. Preliminary Site Investigations Energy Island Bornholm
5.1 | Given the scenario in which there is a detrimental impact on migratory species in the Baltic Sea, how could such impact be mitigated? For instance, would it be an option to switch off the wind turbines (partly or fully) in connection with particularly critical periods for migratory birds and potentially bats, and which methods/techniques could be used?
5.2 | If it is a demand to shut down the windfarm during a fixed period, how long would it take for the entire wind farm to restart and to have the turbines up and running again?
5.3 | A question relating to the mitigation of impacts on people and animals from lights on the turbines has been raised: Would it be an option to only turn on light when planes cross the wind farm area, and how could this be operated?
5.4 | In the current model, Energinet is the one performing the EIA for all the onshore facilities, which means also for the concessionaire’s part of the onshore facilities (though not for a potential PtX plant). Would you prefer a new model where the concessionaire has to carry out the EIA for their part of the onshore facilities from the landfall to the POC? This way would give the concessionaire more flexibility in terms of the deciding the onshore facilities, but would require the concessionaire to take on an additional task. -Would it be possible for the concessionaire to reach the deadline for full commissioning five or six years after signing the concession con-tract, if the concessionaires have to complete the onshore EIA them-selves? The DEA and Energinet assumes the onshore EIA would take the concessionaire 2.5-3 years to complete.
6. Bidding Zone Design for Denmark’s Energy Islands
6.1 | Will the creation of an offshore bidding zone affect your ability to participate in the offshore wind procurement process? If the answer is yes, could you please elaborate? Are there any regulatory considerations that DEA could consider in this regard?
6.2 | How would you, as a concessionaire, hedge against price risks, and will the creation of a separate bidding zone affect your hedging options? Are there any regulatory considerations that DEA could consider in this regard?
6.3 | Who should carry the financial risk of the interconnector availability risk and why? Do you see any reasons to 1) split the risk between the transmission system operator, the member state and the wind generators, and 2) to have different risk arrangement on the interconnectors to Denmark and abroad?
6.4 | To what extent does the possibility of a redistribution effect affect your business case in an offshore bidding zone design and to what extent will it affect your incentive to participate in the offshore wind procurement process?
6.5 | In your opinion, does the DEA need to consider any regulatory changes to secure a high engagement by the concessionaire to actively contribute to maintaining a secure energy supply in Denmark? The DEA is considering system adequacy and security in particular.
7. The possibility for overplanting
7.1 | Is it economically attractive to add consumption before POC in connection with the wind farm? (even though consumption is not part of the procurement specifications). Could you please elaborate your answer?
7.2 | What type of consumption technologies (assets) would you consider installing, if any?
7.3 | To what extent do you believe that there are sufficient market tools, e.g direct lines or geographically differentiated tariffs, to secure the incentive to co-locate production and consumption nearby the wind farms (before or after POC)? If not, do you have any input to regulatory changes the DEA might introduce to secure a higher extent of co-location?
7.4 | How do you imagine the split of ownership between consumption and the wind farm? Do you foresee any advantage in an offshore bidding zone when co-locating consumption and production?
7.5 | In the case of Bornholm EI and an offshore bidding zone what role (if any) does ownership structures for the different production and consumption capacities on the Energy Island have for ensuring a well-functioning bidding zone? How much capacity is it physically realistic and economically attractive to build in the Energy Island Bornholm?
7.6 | If adding a PtX asset, would you do it at the same time as commissioning the wind farm or at a later stage?
7.7 | If batteries or PtX-assets are placed onshore, how large an area would this require? Are there any other technical requirements for this area that you know of at this point?
7.8 | How would you prefer to connect Energy Island Bornholm to the grid if you choose to install a PtX asset?
7.9 | Would you prefer all the turbines to be connected to the grid and use the PtX for the excess capacity of the site? Or would you prefer to have the possibility to choose only to connect some of the turbines to the grid, while the rest of the turbines are dedicated to the PtX?
7.10 | Is it possible time wise to establish an onshore PtX plant in connection to the offshore wind farms (OWF) before the end of 2030, if the concession is grant-ed in the second half of 2024?
7.11 | Is the technology of PtX produced directly in the turbines or PtX produced on offshore platforms ready for large-scale projects before the end of 2030? What would it take in order to make feasible, e.g. in order of eventual infrastructure etc.?
7.12 | Is it relevant and attractive to establish an OWF with no connection to the public electricity grid, and where the developer will have to establish a so-called direct line between the OWF and a PtX plant? Or does the access to the public electricity grid provide benefits such that it is still relevant with a connection to the public grid? Could you please elaborate your answer, e.g. what determines your desired public grid connection capacity in terms of effect (MW), what benefits can connection to the public grid provide, and why would you possible not chose not to be connected to the public grid.
7.13 | If you decide to overplant significantly in order to connect a PtX plant via a direct line before the PoC, would you still connect 1 GW to the PoC in order to be able to use it in times of high electricity prices? Most likely you would be obliged to pay for the connection of 1 GW.
7.14 | How do you consider the potential role of direct lines and PtX in the overall business case of the OWF, and how do you consider the importance of receiving a permission to establish a direct line before or after the date of tender submission?
7.15 | On which of the new possible sites from the 2022 Fine screening (https://ens.dk/ansvarsomraader/vindenergi/fakta-om-vindenergi) would it be most relevant to establish an OWF connected only to a PtX-plant (Nordsøen 1 (three OWFs of min. 1 GW), Kattegat II, Kriegers Flak II), if possible?
7.16 | In the Nordsøen 1-site, it is possible to plant 3 GW with 1 GW in each of the three possible PoC’s. As the total area is large and the DEA wants to minimize the waste of this prime area, the question is; how much total installed capacity should the DEA allow per site or per 1 GW PoC?
7.17 | If planning to connect an OWF directly to a PtX plant without any connection to the public grid, would it still be possible to ensure a concession payment to the Danish Government?
7.18 | Strategic Environmental Assessments will cover potential PtX plants connected to the OWFs. If you are planning to establish a PtX plant in connection to your OFW, it would be helpful if you would share some details regarding the project, e.g. dimensions, end product, location (e.g. closer to the shore vs. closer to the PoC), overall timeline, storage capacity, electrolysis capacity compared to wind capacity etc.
8 Support mechanism
8.1 | Do you think that a support mechanism/subsidies are a condition for participating in the procurement? Please answer both in relation to Energy Island Bornholm and other OWF procurements in generally.
8.2 | How does the transfer of costs related to transmission infrastructure affect the need for a support mechanism/subsidies?
8.3 | In the scenario in which the market actor believes support mechanisms are required, what should a potential support model underpin ? Please provide 3-4 examples a potential support model should live up to (compatibility with Power Purchasing Agreement, simplicity, risk sharing etc.) and prioritize the ones that are deemed most important.
8.4 | What would be the upsides and downsides for both the concessionaire and the Danish State with the suggested model?
8.5 | In the opposite scenario in which the market actor believes subsidies are not required, what should a potential “support ” model still underpin?
9. Grid connection
Commissioning of transmission capacity (HVDC converters) and integration of the wind farm
9.1 | What is the expected timeline for erection of 2 Gwof wind power? How about erection of 3 GW of wind power?
9.2 | Please elaborate on key interfaces to Energinet and the EPC contractors with respect to grid connection.
9.3 | Which interfaces would you consider as being critical?
9.4 | When will you deliver a detailed overall commissioning schedule together with the EPC contractor after placement of the contracts?
9.5 | Will the developer provide the auxiliary power himself, and where will the power come from?
9.6 | Which coordination is required between the parties for testing and commissioning?
9.7 | What is your view of resetting the Trial operation (prolonged commissioning) if terms and conditions are not fulfilled by the EPC HVDC contractor, e.g., unstable operation, too many trips, outages etc.?
9.8 | Energinet expects the wind developer to participate in a joint working group to develop a common interface matrix, e.g., RACI chart. Please clarify your view on such a working group and ways of working.
9.9 | Please elaborate on your view regarding key contractual clauses that need to be coordinated between you and Energinet’s EPC HVDC contracts.
9.10 | Please elaborate on the high-level timeline beginning from the installation of the first WTG until complete commissioning of the wind farm.
9.11 | How do you perceive an overlap of the interconnection test phase in 2029 and 2030 for the connectors connecting Bornholm to Zealand and a foreign country with the connection window for wind turbines? Please describe the impact on risk, cost, time and quality.
Grid connection requirements
9.12 | In your view what are the gaps in the existing grid code requirements (Network Code on Requirements for Generators and national implementation) when connecting to an offshore Energy Island compared to an onshore connection?
9.13 | Which grid code requirements are most influential on the design of the wind power plant?
9.14 | Are there any requirements which the developer sees as hindering for the plant optimization considering connection to an Energy Island?
9.15 | It is likely that wind developers will be met with a requirement for sending mFRR down bids to Energinet for all Market Time Units. What would be the maximum available and minimum possible amount of down regulating mFRR-bids?
9.16 | What kind of demand/storage do you intend to build in combination with the generation facility?
Model requirements and exchange of data and models between stakeholders
9.17 | When and to which extend will you be able to deliver a harmonic model?
9.18 | When and to which extend will you be able to deliver a state space model (Black box)?
9.19 | When and to which extend will you be able to share a black-boxed EMT model?
9.20 | How do you as wind power plant developer best see the involvement in hardware-in-the-loop testing with control and protection replicas?
9.21 | How does the offshore wind power developer picture the ideal process around sharing IP-protected models and data between neighboring and electrically coupled wind power plants and HVDC systems?
Control and stability
9.22 | Which risks does the developer foresee regarding operation of wind power plants in low short-circuit power and low inertia systems such as the Energy Island?
9.23 | What is your view on the feasibility of providing grid forming capabilities from wind power plants?
9.24 | What are the technical challenges, and how does the developer see the optimal distribution of grid forming capabilities across wind power plants and HVDC?
9.25 | In certain situations where a HVDC cable is faulted, or a HVDC converter is tripped, the wind power plant needs to be ramped down quickly to deal with the excessive power. What is the maximum ramp rate in p.u./s, Energinet can consider realistic or feasible for design studies?
Ancillary services
9.26 | What is required for the wind power plant to deliver black start service to the neighboring synchronous areas via the HVDC system?
9.27 | Energinet considers the possibility that offshore wind power plants connected to the Energy Island shall be able to deliver fast frequency reserves to the onshore grid. How will you ensure the control chain for detecting the onshore frequency disturbance and communicate this to the offshore wind power plant?
Voltage level and AC POC on the Energy Island
9.28 | Which voltage level do you as wind power developer consider optimal for transmission of the wind power from the wind power area to the Bornholm Energy Island AC substation? How many landing cables do you foresee?
10. Cyber security
10.1 | In regards to cyber security regarding the coming OWFs, do you have any suggestions as to how the DEA can ensure the cyber security in the tender material, especially regarding the operation phase?
10.2 | Is the upcoming NIS2 directive sufficient in this matter?
11. Tender submission
Tender submission before alla preliminary investigations are complete
11.1 | The DEA is considering setting the deadline of the tender submission for some of the sites before all preliminary investigations are completed. This means that the tender can be decided about 6-12 months earlier, than if all data was awaited. However, this also means that the developer will take on a greater risk as all data are not available at the time of tender submission. Do you consider this wiill be more relevant for some sites (Nordsøen 1, Kriegers Flak II, Kattegat II or Hesselø) than for others – and if so, which one? The DEA does not expect this will move forward the final deadline for the full commission of the wind farm.
11.2 | Is the above described approach relevant for your business case – if yes, please describe why?
11.3 | Will the approach change your risk assessment of the project and thus affect the bid price, and if so, in what range?
11.4 | Which of the planned preliminary investigations are the most important to be completed before tender submission? (Please find the list of the preliminary investigations planned for Hesselø at www.ens.dk/hesselø under Preliminary Investigations. The list will be similar for the future tenders).
12. General
12.1 | Our understanding is that the supply chain regarding offshore wind is stretched for the time being. Please describe how you see lead times and what the DEA could do to help mitigate potential consequences of this situation.
12.2 | Are you considering integrating innovation as part of the tender if relevant, and if so, would you involve a third party to innovate throughout the project?
12.3 | What is the optimal size of projects (in GW) if the PoC is 1 GW?
12.4 | How should payment for the concession be structured?
12.5 | Which sustainability criteria should be implemented (if any), and how should they be implemented?
12.6 | Which system integration criteria should be implemented (if any), and how should they be implemented?
12.7 | As part of the preliminary investigation (you can find the list of the preliminary investigations planned for Hesselø at www.ens.dk/hesselo under Preliminary Investigations; and the list will be similar for the future tenders), do you consider any of them redundant and possible to cut out in order to possibly save time? The 3D model for instance?
12.8 | Any other recommendations or suggestions?
PLEASE NOTE: In the technical dialogue, the DEA intends to only discuss the questions posed by DEA and elements of the tender related to or affected by the site conditions. Therefore, reflections or comments etc. to non-related elements will not be taken into account in the DEAs later evaluation of the received responses.